Windows Platform QHYCCD SDK v5.0.4 Library

QHY Camera Test Report

- Test content

EZCAP_QT：Camera connection, disconnection, preview, temperature control, single frame shooting, single frame shooting when exposure stop and then continue shooting.

ShareCap：Camera connection, disconnection, live 8RAW Frame and live 16RAW Frame shooting。

- test result

| Camera type | EZCAP_QT | ShareCap |
| --- | --- | --- |
| QHY5-II-M | OK | Ok |
| QHY5L-II-M | Ok | Ok |
| QHY5L-II-C | Ok | Ok |
| QHY5P-II-M | Ok | Ok |
| QHY5P-II-C | Ok | Ok |
| QHY5R-II-C | Ok | Ok |
| mincam5f-M | Ok | Ok |
| mincam5s-M | Ok | Ok |
| QHY163-C | Ok | Ok |
| QHY163-M | Ok | Ok |
| QHY183-M | Ok | Ok |
| QHY42-M | Ok | Ok |
| QHY183-C | Ok | Ok |
| QHY174M | Ok | Ok |
| QHY174C | Ok | Ok |
| QHY178M | Ok | Ok |
| QHY178C | Ok | Ok |
| QHY290C | Ok | Ok |
| QHY290M | Ok | Ok |
| QHY247C | Ok | Ok |
| QHY224C | Ok | Ok |
| QHY128C | Ok | Ok |
| QHY165C | Ok | Ok |
| QHY168C | Ok | Ok |
| QHY5III178C | Ok | Ok |
| QHY5III290C | Ok | Ok |
| QHY5III290M | Ok | Ok |
| QHY5III178M | No tests | No tests |
| QHY5III224C | Ok | Ok |
| QHY5III174M | Ok | Ok |
| QHY5III185C | Ok | Ok |
| QHY8L-C | Ok | Not support |
| QHY10-C | Ok | Not support |
| QHY12-C | Software crashes | Not support |
| QHY9S-M | Ok | Not support |
| QHY23-M | Ok | Not support |
| PoleMaster | Not support it | Ok |
| QHY16803 | OK | Not support it |
| QHY90A | OK | Not support it |
| QHY16200A | OK | Not support it |
| QHY695A | OK | Not support it |
| QHY814A | OK | Not support it |
| miniCAM6F | No tests | No tests |
| QHY5III174C | Ok | Ok |
| QHY174M-GPS | Ok | Ok |
| QHY367C | Ok | Ok |
| QHY9S-C | No tests | No tests |
| QHYIMG2Pro | Ok | Not support it |
| QHY11-M | Ok | Not support it |
| QHY21-M | No tests | No tests |
| QHY22-M | No tests | No tests |
| QHY27 | Ok | Not support it |
| QHY28 | No tests | No tests |
| QHY29 | No tests | No tests |
| QHY8Pro | Can't find the camera | Not support it |
| QHY2020 | Ok | Ok |
| QHY4040 | No tests | No tests |
| QHY6060 | No tests | No tests |

Remarks:

1. QHY8Pro QHYCCD SDK did not find the camera..

2. QHY12-C, capture image SDK rush.