Windows and Linux Platform

QHYCCD SDK v5.0.7 Library

QHY Camera Test Report

- Test content

EZCAP_QT：Camera connection, disconnection, preview, temperature control, single frame shooting, single frame shooting when exposure stop and then continue shooting.

ShareCap：Camera connection, disconnection, live 8RAW Frame and live 16RAW Frame shooting。

Live demo：Camera connection, live 8RAW Frame shooting。

- test result

|  | Windows | Linux |
| --- | --- | --- |
| Camera type | EZCAP_QT | ShareCap | EZCAP_QT | Live demo |
| QHY5-II-M | Ok | Ok | Ok | Ok |
| QHY5L-II-M | Ok | Ok | Ok | Ok |
| QHY5L-II-C | Ok | Ok | Ok | Ok |
| QHY5P-II-M | Ok | Ok | Ok | Ok |
| QHY5P-II-C | Ok | Ok | Ok | Ok |
| QHY5R-II-C | Ok | Ok | Failed | Failed |
| mincam5f-M | Ok | Ok | Ok | Ok |
| mincam5s-M | Ok | Ok | Ok | Ok |
| QHY163-C | Ok | Ok | Ok | Ok |
| QHY163-M | Ok | Ok | Ok | Ok |
| QHY183-M | Ok | Ok | Ok | Ok |
| QHY42-M | Ok | Ok | Ok | Ok |
| QHY183-C | Ok | Ok | Ok | Ok |
| QHY174M | Ok | Ok | Ok | Ok |
| QHY174C | Ok | Ok | Ok | Ok |
| QHY178M | Ok | Ok | Ok | Ok |
| QHY178C | Ok | Ok | Ok | Ok |
| QHY290C | Ok | Ok | Ok | Ok |
| QHY290M | Ok | Ok | Ok | Ok |
| QHY247C | Ok | Ok | Ok | Ok |
| QHY224C | Ok | Ok | Failed | Ok |
| QHY128C | Ok | Ok | Ok | Ok |
| QHY165C | Ok | Ok | Ok | Ok |
| QHY168C | Ok | Ok | Ok | Ok |
| QHY5III178C | Ok | Ok | Ok | Ok |
| QHY5III290C | Ok | Ok | Ok | Ok |
| QHY5III290M | Ok | Ok | Ok | Ok |
| QHY5III178M | Ok | Ok | Ok | Ok |
| QHY5III224C | Ok | Ok | Ok | Ok |
| QHY5III174M | Ok | Ok | Ok | Ok |
| QHY5III185C | Ok | Ok | Ok | Ok |
| QHY5III174C | Ok | Failed | Ok | Failed |
| QHY8L-C | Ok | Not support it | Ok | Not support it |
| QHY10-C | Ok | Not support it | Ok | Not support it |
| QHY12-C | Failed | Not support it | Failed | Not support it |
| QHY9S-M | Ok | Not support it | Ok | Not support it |
| QHY23-M | Ok | Not support it | Ok | Not support it |
| PoleMaster | No tests | Ok | No tests | Ok |
| QHY16803 | Ok | Not support it | Ok | Not support it |
| QHY90A | Ok | Not support it | Ok | Not support it |
| QHY16200A | Ok | Not support it | Ok | Not support it |
| QHY695A | Failed | Not support it | Ok | Not support it |
| QHY814A | Ok | Not support it | Ok | Not support it |
| miniCAM6F | Ok | Ok | Ok | Ok |
| QHY174M-GPS | Ok | Ok | Ok | Ok |
| QHY367C | Ok | Ok | Ok | Ok |
| QHY9S-C | No tests | Not support it | No tests | Not support it |
| QHYIMG2Pro | Failed | Not support it | Ok | Not support it |
| QHY11-M | Ok | Not support it | Ok | Not support it |
| QHY21-M | No tests | Not support it | No tests | Not support it |
| QHY22-M | Ok | Not support it | Ok | Not support it |
| QHY27 | Ok | Not support it | Failed | Not support it |
| QHY28 | No tests | Not support it | No tests | Not support it |
| QHY29 | No tests | Not support it | No tests | Not support it |
| QHY8Pro | Failed | Not support it | Failed | Not support it |
| QHY2020 | Ok | Ok | Ok | Ok |
| QHY4040 | Ok | Ok | Ok | Ok |
| QHY6060 | No tests | No tests | No tests | No tests |
| QHY411 | No tests | No tests | No tests | No tests |

Remarks:

- QHY5R-II-C No images can be captured by a single or live frame on Linux.

- QHY224C An image cannot be captured in a single frame on Linux.

- QHY5III174C SharpCap 8-bit raw format can't capture images on Windows, and Linux live demo can't capture images.

- QHY695A、QHYIMG2Pro  can't find the device to drive on the Chinese version of Windows 10 family.

5. QHY12-C windows, Linux platform when taking photos EZCAP_QT burst.

6. The QHY8Pro Windows platform can't find the device. The Linux platform operates normally, but the image doesn't change.

7. QHY27 software loses response when single frame image data of Linux platform is downloaded to 98%.