Windows and Linux Platform

QHYCCD SDK v5.0.9 Library

QHY Camera Test Report

- Test content

EZCAP_QT：Camera connection, disconnection, preview, temperature control, single frame shooting, single frame shooting when exposure stop external filter wheel (generation 2 and 3), built-in filter wheel.

ShareCap：Camera connection, disconnection, live 8RAW Frame and live 16RAW  24RGB Frame shooting。

Live demo：Camera connection, live 16RAW Frame shooting。

- test result

|  | Windows |  | Linux |  |
| --- | --- | --- | --- | --- |
| Camera type | EZCAP_QT | ShareCap | EZCAP_QT | Live demo |
| QHY5-II-M | Ok | Ok | Ok | Ok |
| QHY5L-II-M | Ok | Ok | Ok | Ok |
| QHY5L-II-C | Ok | Ok | Ok | Ok |
| QHY5P-II-M | Ok | Ok | Ok | Ok |
| QHY5P-II-C | Ok | Ok | Ok | Ok |
| QHY5R-II-C | Ok | Ok | Ok | Ok |
| QHY5H-II | Ok | Ok | Ok | Ok |
| mincam5f-M | Ok | Ok | Ok | Ok |
| mincam5s-M | Ok | Ok | Ok | Ok |
| mincam5s-C | Ok | Ok | Ok | Ok |
| QHY163-C | Ok | Ok | Ok | Ok |
| QHY163-M | Ok | Ok | Ok | Ok |
| QHY183-M | Ok | Ok | Ok | Ok |
| QHY42-M | Ok | Ok | Ok | Ok |
| QHY183-C | Ok | Ok | Ok | Ok |
| QHY174M | Ok | Ok | Ok | Ok |
| QHY174C | Ok | Ok | Ok | Ok |
| QHY178M | Ok | Ok | Ok | Ok |
| QHY178C | Ok | Ok | Ok | Ok |
| QHY290C | Ok | Ok | Ok | Ok |
| QHY290M | Ok | Ok | Ok | Ok |
| QHY247C | Ok | Ok | Ok | Ok |
| QHY224C | Ok | Ok | Ok | Ok |
| QHY128C | Ok | Ok | Ok | Ok |
| QHY165C | Ok | Ok | Ok | Ok |
| QHY168C | Ok | Ok | Ok | Ok |
| QHY5III178C | Ok | Ok | Ok | Ok |
| QHY5III290C | Ok | Ok | Ok | Ok |
| QHY5III290M | Ok | Ok | Ok | Ok |
| QHY5III178M | Ok | Ok | Ok | Ok |
| QHY5III224C | Ok | Ok | Ok | Ok |
| QHY5III174M | Ok | Ok | Ok | Ok |
| QHY5III185C | Ok | Ok | Ok | Ok |
| QHY5III174C | Ok | Ok | Ok | Ok |
| QHY5 | No tests | Not support it | No tests | Not support it |
| QHY8L-C | Ok | Not support it | Ok | Not support it |
| QHY10-C | Ok | Not support it | Ok | Not support it |
| QHY12-C | Ok | Not support it | Ok | Not support it |
| QHY9S-M | Ok | Not support it | Temperature control reading error | Not support it |
| QHY23-M | Ok | Not support it | Ok | Not support it |
| PoleMaster | No tests | Ok | No tests | Ok |
| QHY16803 | Ok | Not support it | Ok | Not support it |
| QHY90A | Ok | Not support it | Ok | Not support it |
| QHY16200A | Ok | Not support it | Ok | Not support it |
| QHY695A | Ok | Not support it | Ok | Not support it |
| QHY814A | Ok | Not support it | Ok | Not support it |
| miniCAM6F | No tests | No tests | No tests | No tests |
| QHY174M-GPS | No tests | No tests | No tests | No tests |
| QHY367C | Ok | Ok | Ok | Ok |
| QHY9S-C | No tests | Not support it | No tests | Not support it |
| QHYIMG2Pro | Ok | Not support it | Ok | Not support it |
| QHY11-M | Ok | Not support it | Images do not capture data | Not support it |
| QHY21-M | No tests | Not support it | No tests | Not support it |
| QHY22-M | Ok | Not support it | Ok | Not support it |
| QHY27 | Ok | Not support it | Images do not capture data | Not support it |
| QHY28 | No tests | Not support it | No tests | Not support it |
| QHY29 | No tests | Not support it | No tests | Not support it |
| QHY8Pro | Ok | Not support it | Ok | Not support it |
| QHY2020 | Ok | Ok | Ok | Ok |
| QHY4040 | Ok | Ok | Ok | Ok |
| QHY6060 | No tests | No tests | No tests | No tests |
| QHY411 | No tests | No tests | No tests | No tests |